## 3PH SPH
SPH 3PH automatische Bestellen Anleitung
Autor: Luqi.Zhang@Growatt.com
Was brauchen Sie?(bitte Zahlen in Rot auswaehlen)
SPH |  | Batterie
SPH | Bitte auswählen | Bitte auswählen | Stk (2,4 kwh/Stk) | 4 Stk=9.6 kwh 5 Stk=12 kwh 6 Stk=14,4 kwh 7 Stk=16.8 kwh 8 Stk=19,2 kwh 9 Stk=21,6 kwh 10Stk=24 kwh
|  | Also ist: |  | kwh
Was brauchen bestellen?(automatisch Folge bekommen)
Kategorie | Name | Menge
SPH |  | 1
Akku | H48050 Battery Module
Akku-Box | H48050 Box-4
BMS | SC0500-100S | 0
BMS | SC1000-100S | 1
Kabel | Pylon battery cable | 1
Ueberwachung | shine wifi-s | 1
Suchen Sie bitte Name von obere Produkte bei ESTG onlineshop. Legen Sie alles in den Warenkorb. Achten Sie darauf, dass Sie keine Artikel vergessen!
Produkte Katalog
No. | Product | Description | Photos
0 | H48050 Battery Module | High Voltage Battery Module /H48050 /2.4KWh /48V /50AH
1 | H48050 Box-4 | 1. Battery box could store 4pcs H48050 OR 3pcs H48050 + 1pcs BMS 2. The battery box could be stacked up(Maximum 3 pcs boxes)
2 | H48050 Box-6 | Battery box could store 6pcs H48050 OR 5pcs H48050 + 1pcs BMS
3 | Pylon battery cable | Power and Communication(CAN) cables from PYLONTECH battery system to hybrid Inverter
4 | SC0500-100S | Battery Management System for 3 - 7 pcs H48050 Battery Modules
5 | SC1000-100S | Battery Management System for 8 - 10 pcs H48050 Battery Modules
6 | shine wifi-s | Ueberwachung

## Sheet1 (hidden)
SPH 8000 BH | 2
SPH 6000 BH | 1
H48050 Battery Module | 21
H48050 Box-4 | 6
SC0500-100S | 3
Pylon battery cable | 3
shine Master | 1